## Sheet1
EHS EQUIPMENT/LINE RELEASE CHECKLIST
New Product Process ☐ |  | Product Process Change ☐
New Equipment/Fixture ☐ |  | Equipment/Fixture Modification ☐
Equipment/Line No.: |  | Equipment OEM Contact:
Product/Process Name: |  | Equipment/Line Location:
Inspection Date: |  | Inspection Conducted by:
No. | Check Items | STATUS |  | Remarks
|  | Yes | No
I. GENERAL
1 | Is the equipment manual available & provided to operator/technician? | ☐ | ☐
2 | Is the operator/technician certified in the equipment/process? | ☐ | ☐
3 | Is there an approved Process Work Instruction? | ☐ | ☐
4 | Does the area provided with adequate passage way? | ☐ | ☐
5 | Are the walkways/aisles free of obstruction? | ☐ | ☐
6 | Is there an emergency evacuation area posted? | ☐ | ☐
7 | Is there fire extinguisher/fire hydrant available within 5 meters? | ☐ | ☐
8 | Is there smoke or heat detector and sprinkler in the area? | ☐ | ☐
9 | Does the area uses shop/hot tools? Appropriate cover/holder provided? | ☐ | ☐
10 | Is there fumes/smoke generated by the process e.g. soldering? | ☐ | ☐
11 | Is the area provided with proper ventilation? Exhaust system? | ☐ | ☐
12 | What's the actual Temperature & Humidity in the area? | ☐ | ☐
13 | Does the exhaust velocity pass the standard 1.0 m/s? | ☐ | ☐
14 | Does the process generate high noise level (above 90dBA)? | ☐ | ☐
15 | Is the general area properly illuminated (at least 300 lux)? | ☐ | ☐
16 | Is the process properly illuminated (at least 500 lux)? | ☐ | ☐
17 | Does the machine have moving/rotating parts? | ☐ | ☐
II. MACHINE SAFETY
16 | Does the machine have moving/rotating parts? | ☐ | ☐
17 | Are there appropriate safeguards to these moving parts? | ☐ | ☐
18 | Machine cover with interlock switch | ☐ | ☐
19 | Sensors/Dual Switches | ☐ | ☐
20 | Does the machine/equipment have an Emergency Shut-off Button? | ☐ | ☐
21 | Does the Emergency Shut-off Button work? | ☐ | ☐
22 | Is the Emergency Shut-off Button properly labeled & visible? | ☐ | ☐
23 | Does the operator/technician know where & how it works? | ☐ | ☐
24 | Does the machine/equipment have sharp edges & corners? | ☐ | ☐
25 | Is there a machine/equipment history log posted? | ☐ | ☐
26 | Is there a clear maintenance ownership of the equipment? | ☐ | ☐
27 | Is there a Preventive/Predictive Maintenance Schedule? | ☐ | ☐
III. ELECTRICAL SAFETY
26 | Is the machine provided with main circuit breaker? Properly labeled? | ☐ | ☐
27 | Does the operator & technician know the location of the breaker? | ☐ | ☐
28 | Can the main power switch be locked out? | ☐ | ☐
29 | Is the assigned Technician trained in LOTOTO? | ☐ | ☐
30 | Does the assigned Technician have individual lock & tag? | ☐ | ☐
31 | Is LOTOTO consistently performed during maintenance? | ☐ | ☐
32 | Are electrical wirings/cables properly insulated & harnessed? | ☐ | ☐
33 | Are electrical outlets properly labeled (110/220V)? | ☐ | ☐
Overall Remarks:
Note: